## Categories
L1 | L2 | L3
Advanced Features | General | Alarms / Notifications
Auto-Shutdown Feature
Autoclavable Components
Chamber Material
Export File Formats
Internal Sensors
Light Source Type
Load Balancing System
Lockout Mode
Multilingual Interface
Number of Channels
Number of Stored Programs
Optical Detection (Yes/No)
Password Protection
Preset Profiles
Programmable Modes
QR Code Support
RFID Access Support
Real-Time Monitoring
Rotor Material
Stackable
UV Support (Yes/No)
User Management System
Business Insights | Competitive Landscape | Analogs
| Pricing | Price Range
| Reliability | Common Issues
Consumables & Accessories | Consumable Compatibility | Adapter Compatibility
Biohazard Compatibility
Cartridge Type
Cuvette Compatibility
Filter Type
Plate Compatibility
Reagent Compatibility
Rotor Compatibility
Tube Compatibility
Well Format Supported
| Consumables | Consumables List
| Spare Parts | Replaceable Parts
Spare Parts Availability
Environmental Requirements | Gas Control | CO₂ Control (Yes/No)
Gas Purge Options
O₂ Control (Yes/No)
Vacuum Control (Yes/No)
| Thermal | Cooling (Yes/No)
Heating (Yes/No)
Humidity Control (Yes/No)
Operating Humidity
Operating Temperature
Storage Temperature
Temperature Control Type
Temperature Range (°C)
Temperature Stability (± °C)
Functional Characteristics | Capacity | Chamber Volume
Max Sample Capacity
Max Sample Volume
Min Sample Volume
Number of Slots / Wells
Slide Capacity
Working Volume
| Performance | Acceleration Time
Deceleration Time
Max RCF
Max RPM
Min RPM
Speed Range
| Timing | Continuous Run Mode
Timed Modes
Timer Range
Identification | Asset Class | Equipment Type
Instrument Category
| Lifecycle Info | Date of First Use
Support Expiry Date
Warranty Period
Year of Manufacture
| Manufacturer Info | Country of Origin
Equipment Name
Manufacturer
Model Number
Part Number
Product Line / Series
SKU
Physical Specifications | Acoustic Properties | Noise Level (dB)
| Footprint | Dimensions (W × D × H)
Shipping Dimensions
| Housing | Chamber Insulation Type
Door Opening Angle
Door Type
Housing Material
| Installation | Benchtop or Floor
Mounting Options
| Mass & Load | Shipping Weight
Weight
| Protection | Chemical Resistance
Dust Protection
Surface Coating
| Structure | Construction Type (Monoblock, Modular)
Vibration Damping System
| Thermal Properties | Heat Emission (BTU/hr)
Regulatory & Safety | Certifications | Certification (e.g. CE, UL, ISO)
Cleanroom Certification
Safety Certifications (TÜV, NRTL)
| Compliance | Compliance Standards
EMC Compliance
| Decontamination | Decontamination Support
UV Sterilization Support
| Filtration | HEPA Filtration
| Fire Safety | Fire Safety Classification
| Ingress Protection | IP Rating
| Safety Features | Spill Containment
| Sterility | Sterility Maintenance
| Training | Training Required
Service & Maintenance | Service & Maintenance | Calibration Interval
Calibration Required
Maintenance Type (User/Certified)
Service Interval
Service Manual Included
User Interface & Software | Connectivity | API Support
Cloud Sync (Yes/No)
Mobile App Support
PC Connectivity
Web Interface
| Data Management | Data Export Options
Data Logging Interval
| Display | Display Resolution
Display Size
Display Type
Error Codes Display
Touchscreen (Yes/No)
| Software Info | Biosafety Level Compatibility
Compatible OS
Lab Management Software Integration
Self-Diagnostics
Software Included
Software Version
Updateable Firmware
Utilities & Interfaces | Computer Links | Bluetooth
Wi-Fi
| Electrical Power | Battery Backup
Cable Length
Energy Efficiency Class
Frequency (Hz)
Frequency Range (Hz)
Fuse Rating
Max Power Output
Plug Type
Power Consumption (W)
Power Supply Type (AC/DC)
Standby Power
Surge Protection
Voltage (V)
| I/O Ports | Ethernet Port
RS-232
USB Port